Validation of the Composite Surgical Metrics Score

# Executive Summary

This report evaluates whether the composite surgical metrics score (0-100), derived from 8 tool-tracking metrics across 300 endoscopic procedures, is a clinically valid measure of surgical quality. Using 120 procedures with linked clinical outcomes, we assessed the score's construction, its association with patient outcomes, and the influence of surgeon-level effects. Our findings suggest the score has limited clinical validity in its current form, primarily due to unbalanced metric weighting, lack of significant association with any clinical outcome, and strong confounding by surgeon identity.

# 1. Score Construction and Internal Validity

## 1.1 Metric Weighting

All 8 individual metrics showed statistically significant correlations with the composite score (all p < 0.001), confirming the score reflects its constituent metrics. However, the weighting is unbalanced:

| Metric | Correlation (r) | Relative Weight | p-value | Direction |
| --- | --- | --- | --- | --- |
| path_efficiency | +0.590 | ~20% | < 0.001 | Higher = better |
| tool_switching_per_min | -0.470 | ~18% | < 0.001 | Lower = better |
| site_visibility_pct | +0.372 | ~11% | < 0.001 | Higher = better |
| movement_smoothness | +0.369 | ~5.6% | < 0.001 | Higher = better |
| idle_time_pct | -0.339 | ~10% | < 0.001 | Lower = better |
| workspace_coverage | +0.295 | ~9% | < 0.001 | Higher = better |
| two_tools_pct | +0.294 | ~9% | < 0.001 | Higher = better |
| speed | -0.280 | ~8% | < 0.001 | Lower = better |

path_efficiency accounts for approximately 20% of composite score weight, roughly twice that of movement_smoothness (5.6%), a metric widely considered clinically important in surgical training. This imbalance means a surgeon with poor smoothness, but efficient paths can still achieve a high composite score.

## 1.2 Unexplained Score Variance

A multiple regression of all 8 metrics predicting the composite score yielded R2 = 0.758. This means approximately 24% of the score's variance cannot be explained by the 8 documented metrics, suggesting an undisclosed component, a non-linear formula element, or interaction terms not captured by linear modeling. This raises transparency concerns for a score intended for clinical use.

# 2. Clinical Validity: Score vs. Patient Outcomes

Using the 120-procedure outcomes subset, we tested the composite score against three clinical outcomes. None reached statistical significance:

| Outcome | Test Statistic | p-value | Verdict |
| --- | --- | --- | --- |
| Complication (n=11 events) | AUC = 0.668 | p = 0.067 | Not significant |
| Complete Resection (n=82) | OR = 1.03 | p = 0.067 | Not significant |
| Hospital Stay (n=120) | r = -0.104 | p = 0.257 | Not significant |

Critically, after adjusting for surgeon identity and procedure length, the score's odds ratio for complication collapsed from 1.096 to 0.989 (p = 0.900), indicating that surgeon identity, not the composite score, was the primary driver of any apparent association with outcomes.

# 3. Surgeon-Level Effects

Procedures are nested within 10 surgeons, with case volumes ranging from 5 to 70 procedures per surgeon — a highly imbalanced structure. The Intraclass Correlation Coefficient (ICC) confirmed meaningful between-surgeon variance in composite scores, justifying the use of mixed-effects modeling.

A linear mixed-effects model (hospital stay ~ composite score + procedure length, surgeon as random effect) confirmed the score does not significantly predict hospital stay after accounting for surgeon clustering (p > 0.05). No individual metric outperformed the composite score after FDR correction across 24 statistical tests.

# 4. Limitations

- Underpowered for rare outcomes: Only 11 complication events out of 120 procedures. Standard power analysis suggests 50+ events are needed for reliable binary outcome modeling. A null result here does not prove the score is invalid.

- Unexplained score variance: R2 = 0.758 suggests the score formula contains undisclosed components, limiting our ability to fully audit its construction.

- Observational design: Causal conclusions cannot be drawn. Confounding by case complexity, patient comorbidities, and institutional factors is uncontrolled.

- Imbalanced surgeon representation: One surgeon contributed 70 of 300 cases. Surgeon-level estimates are unreliable for low-volume surgeons (n = 5 to 7).

- Generalizability: Synthetic data may not reflect real-world distributions of surgical complexity, patient risk, or metric variability.

# 5. Recommendations

- Do not use the current score for clinical decision-making without further prospective validation on a larger, real-world dataset.

- Re-weight metrics based on clinical expert consensus or data-driven methods (e.g. elastic net regression against outcomes), giving greater weight to clinically meaningful metrics such as movement_smoothness and site_visibility_pct.

- Expand the outcomes dataset to at least 500 procedures with 50+ complication events to achieve adequate statistical power for binary outcome modeling.

- Disclose the full score formula to achieve R2 close to 1.0 and enable transparent auditing of metric contributions.

- Prospective study design with pre-registered hypotheses and stratified sampling across surgeons and procedure complexity levels.

- Consider outcome-driven modeling: With sufficient data, a supervised model predicting outcomes directly from individual metrics could identify the most clinically relevant signals.